## AC & refrigeration
Halstead & Roe Legal B.V. - Refrigerant / air-conditioning asset register
Amsterdam HQ. Refills logged by the HVAC service contractor during 2024.
Equipment | Location | Refrigerant | Installed charge (kg) | Cooling capacity (TR) | Refill in 2024 (kg) | Status
VRF system (rooftop) | Whole building | R410A | 14 | 40 | 0 | Operational - no top-up recorded
Split units x5 | Meeting rooms / offices | R32 | 10 | 18 | 0 | Operational - no top-up recorded
Precision AC | Server / IT room | R410A | 6 | 8 | 1.2 | Operational - 1.2 kg top-up in Mar 2024